## water budget
INTERACTIVE WATER BUDGET SPREADSHEET FORMAT* Note on use of the spreadsheet: Calculations can be done by hand, or by entering data in the spreadsheet file.Cells with active equations use actual column and cell numbers. Typed column letters and typed line numbers are for purposes of guiding hand-done calculations.
| NOTE: THIS EXCEL SPREADSHEET IS A WORK IN PROGRESS. CONTACT ANN AUDREY, 520 837-6932, FOR QUESTIONS, COMMENTS, SUGGESTIONS. ETC. | DATA AND CALCULATION SOURCES FOR WHIAs | EXAMPLE OF DATA ENTRY | Column A | Column B | Column C | Column D | Column E | Column F | Column G | Column H | Column I | Column J | DATA AND CALCULATION SOURCES FOR TOTAL SITE | Column L
Line | PLANT WATER DEMAND | Source for data, and how calculations are done for each Water Harvesting Infiltration Areas (WHIA) in columns A through J | Individual Water Harvesting Infiltration area (WHIA) | Individual Water Harvesting Infiltration area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Individual Water Harvesting Infiltration Area (WHIA) | Source fordata, and how calculations are done for Total of all Water Harvesting Infiltration Areas at the Site | Total for all Water Harvesting Infiltration Areas at the Site
1 | Individual WHIA identifier | APPLICANT | WHIA - 1 | [10 empty] | -----
2 | Plant water demand category for this WHIA | APPLICANT: BASED ON ADWR PLANT LIST | low | [10 empty] | ----- |  | TABLE 1
3 | Plant canopy area (square feet) for this WHIA. Add the canopys of understory, midstory and overstory plant areas to get total canopy area for each WHIA | APPLICANT. CAN BE BASED ON LANDSCAPE PLAN OR PLANT LIST | 1250 | [10 empty] | = sum (line 3 for columns A through J) | 0 | Plant water demand category | Annual plant water demand (vertical feet of water per square foot of plant canopy)
4 | Plant water demand per year (vertical feet of water per year per square foot of canopy) for this WHIA | GET APPROPRIATE NUMBER FROM TABLE 1 BASED ON ON PLANT WATER DEMAND CATEGORY FOR THIS WHIA | 1.7 | [10 empty] | ----- |  | very low water use | 0.8425
5 | CALCULATE: Annual plant water demand for this WHIA based on plant canopy area (gallons) | = line 3 times line 4 times 7.48 gallons per cubic foot of water | 15895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | =sum (line 5 for columns A through J) | 0 | low water use | 1.6858
6 | OVERALL WATER HARVESTING SUPPLY | [12 empty] | ----- |  | medium water use | 2.915
7 | WHIA area (square feet) | APPLICANT | 1000 | [10 empty] | ----- |  | high water use | 4.2117
8 | WHIA average depth (feet) | APPLICANT | 0.5 | [10 empty] | -----
9 | CALCULATE: WHIA capacity (gallons) | line 7 times line 8 times 7.48 gallons/sq ft | 3740 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -----
10 | If Passive water harvesting is used: | [12 empty] | -----
11 | Subwatershed identifier | APPLICANT | S-1 | [10 empty] | ----- |  | TABLE 2
12 | Ratio of subwatershed area to plant canopy area needed to meet plant water demand in July through March (use March plant water demand as the indicator month, and effective rainfall in March of 0.41 inches, as shown on Table 3) (no units) | GET APPROPRIATE NUMBER FROM TABLE 2 BASED ON PLANT WATER DEMAND CATEGORY FOR EACH WHIA | 3.85 | [10 empty] | ----- |  | Plant water demand category | Catchment ratio of subwatershed to plant canopy area needed to meet March plant water demand
13 | CALCULATE: Total catchment area ideally needed to meet plant water demand in March (square feet) | = line 3 x line 12 | 4812.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ----- |  | very low water use | 1.9259
14 | Actual total catchment area designed for this WHIA including the WHIA area itself (square feet) | APPLICANT | 1500 | [10 empty] | ----- |  | low water use | 3.8519
15 | CALCULATE: Actual catchment ratio for this WHIA based | = line 14 divided by line 3 | 1.2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ----- |  | medium water use | 6.6667
16 | CALCULATE: Actual percent of plant water demand that will be met for this WHIA | =64% times line 15 divided by line 12 | 19.95% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ----- |  | high water use | 9.6296
17 | If Active water harvesting is used: | [12 empty] | -----
18 | Tank identifier | APPLICANT | T-1 | [10 empty] | -----
19 | above or below ground? | APPLICANT | above | [10 empty] | -----
20 | tank hieght (feet) | APPLICANT | 8 | [10 empty] | ----- |  | Table 3
21 | tank diameter (feet) | APPLICANT | 6 | [10 empty] | ----- |  | BACKGROUND INFORMATION FOR WATER BUDGET
22 | tank capacity (gallons) | APPLICANT | 1619 | [10 empty] | -----
23 | tank location | APPLICANT | north east corner of main building | [10 empty] | ----- |  |  |  | jan | feb | mar | apr | may | june | july | aug | sep | oct | nov | dec | total
24 | CALCULATE: Percent of plant water demand for this WHIA met by this tank | (Assume tank will be filled and emptied 4 times per year) Total water provided = 4 times line 22 divided by line 5 | 40.74% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ----- |  | Percent of annual plant water demand, by month |  | 3.858% | 4.748% | 7.715% | 10.39% | 12.76% | 13.55% | 12.07% | 10.19% | 9.298% | 7.418% | 4.649% | 3.363% | 1
25 | CALCULATE: Percent of plant water demand for this WHIA met using harvested rainwater from passive systems and active systems (as applicable) | = line 16 + line 24 | 60.69% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | ----- |  | Percent of annual rainfall, by month |  | 8.135% | 7.231% | 6.656% | 2.301% | 1.972% | 1.972% | 17.01% | 18.9% | 11.91% | 9.942% | 5.505% | 8.463% | 1
26 | TOTAL SITE INFORMATION | [12 empty] | -----
27 | Percent to total site annual landscape demand met using harvested water | [12 empty] | Prorate the percent provided per WHIA based on size of WHIA. Total =(A25 x A3/L3)+ (B25x B3/L3)+..., etc. for all individual WHIA columns. IMPORTANT NOTE: WHEN USING THE SPREADSHEET CALCULATOR IN THE CELL TO THE LEFT, DELETE ANY CELLS ON "LINE 25" (TRUE LINE 28) THAT STILL SAY "#DIV/0" AFTER ALL OTHER DATA HAS BEEN FILLED IN ON THE TABLE. | #DIV/0! | Monthly Plant Water Demand (inches)
28 | Water harvesting capacity offsetting retention basin size capacity | [12 empty] | APPLICANT'S ENGINEER |  |  | plant type | jan | feb | mar | apr | may | june | july | aug | sep | oct | nov | dec | total
29 | Projected annual metered water use for the site if 50% of annual water use is provided by metered irrigation water (gallons) [50% is the allowed metered water use per the Commercal Rainwater Harvesting Ordinance] | [12 empty] | Line L5 times 50% | 0 |  | very low water use | 0.39 | 0.48 | 0.78 | 1.05 | 1.29 | 1.37 | 1.22 | 1.03 | 0.94 | 0.75 | 0.47 | 0.34 | 10.11
[19 empty] | low water use | 0.78 | 0.97 | 1.56 | 2.09 | 2.59 | 2.75 | 2.43 | 2.06 | 1.87 | 1.5 | 0.94 | 0.69 | 20.23
[19 empty] | medium water use | 1.35 | 1.67 | 2.7 | 3.62 | 4.48 | 4.75 | 4.21 | 3.56 | 3.24 | 2.59 | 1.62 | 1.19 | 34.98
[19 empty] | high water use | 1.95 | 2.42 | 3.9 | 5.23 | 6.47 | 6.86 | 6.08 | 5.15 | 4.68 | 3.74 | 2.34 | 1.72 | 50.54
Determining Monthly effective rainfall supply (inches)
[19 empty] | average monthly rainfall | 0.99 | 0.88 | 0.81 | 0.28 | 0.24 | 0.24 | 2.07 | 2.3 | 1.45 | 1.21 | 0.67 | 1.03 | 12.17
[19 empty] | adjustment for localized variability (25% of average annual rainfall) | -0.2475 | -0.22 | -0.2025 | -0.07 | -0.06 | -0.06 | -0.5175 | -0.575 | -0.3625 | -0.3025 | -0.1675 | -0.2575 | -3.0425
[19 empty] | adjustment to remove high and low rainfall events (25% of average annual rainfall) | -0.2475 | -0.22 | -0.2025 | -0.07 | -0.06 | -0.06 | -0.5175 | -0.575 | -0.3625 | -0.3025 | -0.1675 | -0.2575 | -3.0425
[19 empty] | Effective monthly rainfall (average rainfall less the two adjustments) | 0.495 | 0.44 | 0.405 | 0.14 | 0.12 | 0.12 | 1.035 | 1.15 | 0.725 | 0.605 | 0.335 | 0.515 | 6.085
Calculating needed catchment ratios
[19 empty] | Very low water use | 0.78788 | 1.0909 | 1.9259 | 7.5 | 10.75 | 11.4167 | 1.1787 | 0.89565 | 1.2966 | 1.2397 | 1.403 | 0.66019
[19 empty] | Low water use | 1.5758 | 2.2045 | 3.8519 | 14.9286 | 21.5833 | 22.9167 | 2.3478 | 1.7913 | 2.5793 | 2.4793 | 2.806 | 1.3398
[19 empty] | Moderate water use | 2.7273 | 3.7955 | 6.6667 | 25.8571 | 37.3333 | 39.5833 | 4.0676 | 3.0957 | 4.469 | 4.281 | 4.8358 | 2.3107
[19 empty] | High water use | 3.9394 | 5.5 | 9.6296 | 37.3571 | 53.9167 | 57.1667 | 5.8744 | 4.4783 | 6.4552 | 6.1818 | 6.9851 | 3.3398

## landscape plan
ex
EXAMPLE LANDSCAPE PLAN INFORMATION
species for Water Harvesting Area #1 | plant water use category | diameter (ft) | canopy area per plant (sq ft) | water demand (gal) references table on sheet 1 | number of plants | total demand per species | total canopy area
velvet mesquite | low | 30 | 706.5 | 9000 | 3 | 27000 | 2119.5
chuparosa | low | 4 | 12.56 | 158.382 | 10 | 1583.8202 | 125.6
TOTAL |  |  |  |  | 13 | 28583.8202 | 2245.1
species for Water Harvesting Area #2 | plant water use category | diameter (ft) | canopy area per plant (sq ft) | water demand (gal) references table on sheet 1 | number of plants | total demand per species | total canopy area
canyon hackberry | medium | 35 | 961.625 | 20000 | 1 | 20000 | 961.625
|  |  |  | 0 |  | 0 | 0
TOTAL |  |  |  |  | 1 | 20000 | 961.625